5004-01 UV Flame Scanner

Very High Sensitivity to small flame signals

Can be mounted in any position

Mounts to burner with ½” NPT

This scanner will interface to all Quanta-Flame Controls, Eclipse Veri-Flame, Multi-Flame, Honeywell 7800

ENVIRONMENTAL:

Class: NEMA type 4

Temperature: -200C to +600C (00F to 1400F).

OPTICAL:

Lens: Fused Silica.

Ultra-Violet SPECTRAL SENSITIVITY:

Wavelength: 180-230 nano-meters