[bookmark: _GoBack]Sump, reservoir, expansion, or tank breather lines shall be protected by a one-piece cast aluminum Breather Cap with brass mesh screen. Assembly shall be a Preferred Utilities Manufacturing Corporation, Danbury, CT, Breather Cap.
