Provide and install, where shown on the contract drawings, a 3rd party approved oil fire safety valve. The assembly shall consist of an API 607 certified ball valve, spring pack and 165° F fusible line. The fire safety oil shutoff valve shall be a Preferred Utilities Mfg. Corp., Danbury, CT Model 119-O.