Provide and install, where shown on the contract drawings, a 3rd party approved oil fire safety valve. The assembly shall consist of an API 607 certified ball valve, spring pack and 165° F fusible line. The fire safety oil shutoff valve shall be a Preferred Utilities Mfg. Corp., Danbury, CT Model 119-O.


Provide and install, where shown on the contract drawings, a


 


3


rd


 


party 


approved oil fire safety valve. The assembly shall 


consist of an API 607 certified ball valve, spring pack and 165° F fusible line. 


The fire safety oil shutoff valve shall be a 


P


referred Utilities Mfg. Corp., Danbury, CT Model 119


-


O.


 


 




Provide and install, where shown on the contract drawings, a   3 rd   party  approved oil fire safety valve. The assembly shall  consist of an API 607 certified ball valve, spring pack and 165° F fusible line.  The fire safety oil shutoff valve shall be a  P referred Utilities Mfg. Corp., Danbury, CT Model 119 - O.    

